## Slide 1
EVAR
Dr. Sal Scali
University of Florida, Gainesville

## Slide 2: Agenda
I. Overview of Inclusion/Exclusion Criteria
II. A & P Overview
III. Pertinent Device and Variable Overview
IV. Live abstraction

## Slide 3: EVAR Annual Case Volumes
Over 300 centers and 1600 physicians contribute data per year

## Slide 4: Inclusion/Exclusion Criteria
Inclusion:
Primary endovascular repair of degenerative infrarenal aortic aneurysms that may include iliac aneurysms. Uncovered stent grafts (suprarenal fixation devices) extending above the renal arteries are included. This includes failed endovascular AAA repairs that convert to open AAA repair during the index procedure.
Exclusions:
  Revision of previous endografts (which is captured on the follow-up form for that procedure).
  Supra-renal covered stent grafts with renal fenestrations or branches (which are entered under TEVAR/Complex EVAR).
  Isolated iliac aneurysms.
  Operations done for infected aneurysms.
  Operations done for anastomotic aneurysm (Pseudoaneurysm)
  EVAR performed for non-aneurysmal infrarenal pathology, such as isolated dissection or
  Atherosclerotic occlusive disease (the latter is captured under PVI, the former is not captured in the VQI registry).
  Repair done for trauma

## Slide 5: Infrarenal Abdominal Aortic Aneurysm (AAA)

## Slide 6: Endovascular AAA Repair

## Slide 7: Anatomic Considerations
YES
NO

## Slide 8: Ideal EVAR Anatomy

## Slide 9: Infrarenal AAA Stent-Grafts
Gore
Endologix
Cook
Medtronic
AorFix
Anaconda/Terumo
Talent
Ovation

## Slide 10: Infrarenal vs Suprarenal Fixation
Suprarenal fixation
Infrarenal fixation

## Slide 11: Graft Configurations
1 = Bifurcated infra-renal,2 = Bifurcated supra-renal fixation,3 = Aorto-uni-iliac, right,4 = Aorto-uni-iliac, left,5 = Bilateral aorto-iliac limbs, 6 = Aorto-aortic

## Slide 12: Graft Configurations
Bifurcated Infrarenal Fixation
Bifurcated Suprarenal Fixation
Aorto-uni R iliac
Aorto-Aortic
Bilateral Aorto-iliac limbs

## Slide 13: Treatment of Iliac Aneurysm
Does not capture isolated iliac aneurysm repair
Does include iliac aneurysm repaired concurrently with infrarenal AAA
- Coil embolization, plug occlusion, iliac branch endoprosthesis, hypogastric bypass
Coil embolization
Vascular Plug

## Slide 14: EndoAnchors-Aptus

## Slide 15: Aortic Neck Angle
Maximum angle between axis of suprarenal aorta and aneurysm neck, optimally measured with 3-D CT imaging software

## Slide 16: Aortic Neck Length and Diameter
Missing in 40% of cases
Neck Length (mm) =Defined by a 10% change in diameter relative to the diameter adjacent to the lowest renal artery
Largest outer to outer diameter (mm) within the proximal landing zone (within the measured neck length)

## Slide 17: Max AAA Diameter
Missing in 40% of cases
Largest outer to outer diameter of the AAA
Can use CTA, US, MRI
or 3D reconstruction*
Unit = millimeter (mm)
65mm

## Slide 18: Case Abstraction:
https://pathways-demo.m2s.com
  USER: VAM2019
  Password: #1registry
  Patient Last Name: EVAR

## Slide 19: Questions