## Slide 1: Overview of the SVS TCAR Surveillance Project
MAHMOUD MALAS, MD, MHS, RPVI, FACS
Professor In Residence
Chief Vascular and Endovascular Surgery
Vice Chair For Research
University of California San Diego

## Slide 2
Disclosures
Principle investigator for: CREST I, II, ROADSTER I and II, SAPHIRE W, CHOICE, CAPTUREII
International Principal Investigator for “The ROADSTER Long Term Follow Up”
Proctor to train surgeons on how to perform safe TCAR (Silk Road Medical)
Notes: 2

## Slide 3: Stroke
Stroke kills about 140,000 Americans each year—that’s 1 out of every 20 deaths
Someone in the United States has a stroke every 40 seconds.
Every 4 minutes, someone dies of stroke.
About 87% of all strokes are ischemic strokes.
Stroke costs the United States an estimated $34 billion each year.
Vital Signs: Recent trends in stroke death rates – United States, 2000-2015. MMWR 2017;66.
Benjamin EJ, Blaha MJ, Chiuve SE, et al. on behalf of the American Heart Association Statistics Committee and Stroke Statistics Subcommittee. Heart disease and stroke statistics—2017 update: a report from the American Heart Association. Circulation. 2017;135:e229-e445.
Notes: This total includes the cost of health care services, medicines to treat stroke, and missed days of work.
Stroke reduces mobility in more than half of stroke survivors age 65 and over.2

## Slide 4: Stroke
Second leading cause of death globally
Fifth in the United States

## Slide 5
Extracranial atherosclerotic disease is responsible for 15% to 20% of all ischemic strokes
~ 140,000 carotid revascularizations yearly in the US
Annual US costs for CEA ~ $21 Billion
Stroke

## Slide 6
 | Peri-Procedural Period |  | 
 | CAS vs. CEA | Hazard Ratio (95% CI) | P-Value
Stroke | 4.1 vs. 2.3% | HR = 1.79 (1.14-2.82) | 0.01
MI | 1.1 vs. 2.3% | HR = 0.50 (0.26-0.94) | 0.03
Primary Endpoint (stroke, Death and MI) ≤ 10 years |  | 
CAS vs. CEA | Hazard Ratio, 95% CI | P-Value
11.8 vs. 9.9% | HR = 1.10 (0.83-1.44) | 0.51

## Slide 7
Chart: 
| Day 0 | Day 1-7 | Day 8-30
Transfemoral CAS | 29 | 10 | 9
CEA | 9 | 7 | 5
Stroke Timing for Transfemoral CAS and CEA
Number of Strokes
Day 0 Stroke is the Culprit
Notes: It is well understood that day 0 transfemoral CAS stroke rates are significantly higher than CEA. But from day 1 post procedure and beyond, the rates are statistically equivalent through 30 days in CREST. Clearly, getting beyond the peri-procedural stroke risk of transfemoral carotid revascularization is of critical importance.

## Slide 9: Peri-procedural Stroke after TFCAS
Traditional Transfemoral CAS requires 3 steps that create embolic risk
  Advancing a catheter through the aortic arch
    18% Non-Ipsilateral stroke rate in CAPTURE Study*
  Navigating the lesion before neuroprotection established
  Inadequate neuroprotection from misaligned filters and inadequate manual aspiration of emboli
Crossing the aortic arch
Crossing the lesion
1. Ann Surg 2007;246: 551–558.
Notes: 3 primary causes for Peri-procedural stroke in a transfemoral approach to carotid revascularization:
1) Advancing a catheter through the aortic arch
2) Navigating the lesion before neuroprotection established
3) Inadequate neuroprotection from misaligned filters and inadequate manual aspiration of emboli

## Slide 10: ICSS Silent DWI Lesions After CAS
MRI Diffusion Weighted Abnormalities Assessed 1 to 7 days after the procedure |  |  |  | 
 | CAS (n = 108) | CEA (n = 92) | HR (95% CI) | P
DWI lesions | 50 (46.3%) | 13 (14.1%) | 5.24 (2.61-10.3) | 0.001

## Slide 11: TransCarotid Stenting with Dynamic Flow Reversal
CAUTION: Investigational device. Limited by federal (USA) law to investigational use. The ENROUTE™ Transcarotid Stent and Neuroprotection Systems bear the CE mark of conformity and are available for sale in EU and EFTA countries.
High Pressure Arterial System
Low Pressure Venous System
Avoid the arch
“CEA-like” neuroprotection
Less manipulation
Predictable, efficient

## Slide 12: Dynamic Flow Reversal For ROBUST Neuroprotection
CAUTION: Investigational device. Limited by federal (USA) law to investigational use. The ENROUTE™ Transcarotid Stent and Neuroprotection Systems bear the CE mark of conformity and are available for sale in EU and EFTA countries.
Continuous high rate of flow reversal to remove debris throughout intervention
Direct carotid access reduces embolic risks of transfemoral catheter advancement
Notes: A new, surgically inspired, endovascular solution for carotid artery revascularization comes to us from Silk Road Medical. Through a small surgical cutdown, the ENROUTE Transcarotid Stent and Neuroprotection Systems deliver an endovascular dynamic flow reversal system for continuous, robust stroke protection. This new, direct carotid access method provides surgical patient outcomes with unique transcarotid speed and control. The avoiding the more critical crainial nerve bundle in the typical longer CEA incision.

## Slide 13: TCAR Best Practices and Techniques

## Slide 14: ROADSTER Study Overview
DESIGN: IDE study with OPC of 11% S/D/MI at 30 days
OBJECTIVE: Evaluate safety and efficacy of CAS with ENROUTE Transcarotid Neuroprotection System
  direct carotid access
  high rate flow reversal
  FDA-approved carotid stents
CO-PRINCIPAL INVESTIGATORS: Richard Cambria, MD, Christopher Kwolek, MD ; Massachusetts General Hospital
INDEPENDENT REVIEW: CEC, DSMB, Core labs (angiography, duplex ultrasound, cardiology)
High Surgical Risk
Symptomatic, ≥ 50% stenosis
Asymptomatic, ≥70% stenosis
18 sites
N=67 Lead-in
N=141 Pivotal
N=78 Continued Access
30 Day Follow Up

## Slide 15: ROADSTER Patient Population
Physiologic HSR Inclusion
Severe cardiac disease; severe COPD; chronic renal insufficiency
Permanent contralateral CNI
Age ≥75
Anatomic HSR Inclusion
Contralateral occlusion; bilateral or high or tandem stenosis
Restenosis post CEA
Hostile neck
  Irradiation
  Radical neck dissection
  Cervical spine immobility
Exclusion: Common to CAS
Afib; recent valve or MI; bleeding
Evolving stroke; neuro disorders
Occlusion; ostial CCA or intracranial stenosis; string sign; previous stent
Exclusion: Transcarotid
CCA disease at entry site
<5cm clavicle to bifurcation

## Slide 16: ROADSTER
High Surgical Risk | Pivotal Group, ITT (N=141) |  | Pivotal Group Per Protocol (N=136) | 
S/D/MI* | 5 | 3.5% | 4 | 2.9%
Major Stroke | 0 | 0% | 0 | 0%
Minor Stroke | 2 | 1.4% | 1 | 0.7%
Death | 2 | 1.4% | 2 | 1.5%
MI | 1 | 0.7% | 1 | 0.7%
Stroke & Death | 4 | 2.8% | 3 | 2.2%
Cranial Nerve Injury (CNI) | 1 | 0.7% | 1 | 0.7%
CNI Unresolved at 6 Months | 0 | 0% | 0 | 0%

## Slide 17: One-year outcomes

## Slide 18: Procedure Time
Chart: 
| Procedure Duration
Transcarotid CAS | 76
CEA | 171
Minutes
1. ROADSTER Presentation – Late Breaking Trials, VIVA 2014, C. Kwolek, MD
2. Stroke. 2012;43:00-00.
ROADSTER vs CREST – Mean Procedure Times (minutes)1,2
Notes: CREST delivered mean CEA procedure times of 171min +/-55min. Mean procedure time (skin to skin) for the Silk Road cases in ROADSTER were 76min +/-27min. (Vilain, Stroke, Sept 2012)

## Slide 19: Reverse Flow Vs. CEA Clamp Time
Chart: 
| Procedure Duration
Transcarotid CAS | 10
CEA | 31
Minutes
1. ROADSTER Presentation – Late Breaking Trials, VIVA 2014, C. Kwolek, MD
2. Stroke. 1999;30:1751-1758
ROADSTER vs NASCET 1,2
Notes: CREST delivered mean CEA procedure times of 171min +/-55min. Mean procedure time (skin to skin) for the Silk Road cases in ROADSTER were 76min +/-27min. (Vilain, Stroke, Sept 2012)

## Slide 20
TFCAS vs CEA vs TCAR
Plessers et al.J Endovasc Ther 2016;23:249
TCD HITS During Procedure
TCAR
CEA
CAS
TCAR: avoids the arch, offers complete proximal protection.
Similar to CEA.

## Slide 21: The PROOF Study: DW-MRI HITS Similar to CEA
1 J Am Coll Cardiol. 2012 Jan 19. [Epub ahead of print]
2 Lancet Neurol. 2010 Apr;9(4):353-62
3 Alpaslan, Wintermark, Pinter, Macdonald, Ruedy, Kolvenbach. TransCarotid Artery Revascularization with Flow Reversal: The PROOF Study. J Endovasc Ther. 2016. (In Press)
Study | Procedure | Embolic Protection | Patients | New Ipsilateral DWI Lesions
ICSS2 | CEA | Clamp, backbleed | 107 | 17%
PROOF3 | TCAR | Proximal clamp, reversed flow | 56 | 18%
PROFI1 | Transfemoral CAS | Proximal occlusion (MoMA) | 31 | 45%
ICSS2 | Transfemoral CAS | Distal filter (various) | 51 | 73%
PROFI1 | Transfemoral CAS | Distal filter (Emboshield) | 31 | 87%
Notes: The DW-MRI incidence of 19% as reported in PROOF compares very favorably with the results from other prospective studies.
An ICSS substudy looking at new ischemic brain lesions detectable on DWI found 50% in the CAS arm and 17% in the CEA arm.
Thus, the new transcarotid stenting approach with the ENROUTE Neuroprotection system may offer the benefit of CEA like neuroprotection.

## Slide 22
THE PROOF IS IN THE FILTER Macro & Micro emboli in ENROUTE™ NPS FILTERS

## Slide 23: SVS Vascular Quality Initiative

## Slide 24
Chart: 
| 40179 | 40360 | 40544 | 40725 | 40920 | 41091 | 41275 | 41456 | 41640 | 41821 | 42005 | 42186 | 42385 | 42567 | 42736 | 42856 | 42963 | 43040 | 43132 | 43238 | 43344
 | 15 | 30 | 60 | 97 | 145 | 184 | 216 | 237 | 279 | 289 | 320 | 352 | 377 | 393 | 403 | 422 | 437 | 447 | 458 | 486 | 502
571 Centers, 3,000 physicians, 46 States + Canada
Location of VQI Participating Centers
Number of Participating Centers
VQI
Vascular Quality Initiative (VQI)
Notes: VQI consists of > 1/3 academic hospitals, 1/3 teaching hospitals and 1/3 community hospitals. \The majority of CAS cases registered in the VQI are performed by vascular surgeons, followed by interventional radiologists (and cardiologists The rest are performed by other specialties such as neurosurgery (7%), general surgery (5%), cardiothoracic surgery or non-specified specialties.

## Slide 25: Some of Our VQI publications

## Slide 26: VQI TCAR Surveillance Project (TSP)

## Slide 27: Objectives of TSP
Monitor the safety and effectiveness of stents placed directly into the carotid artery while reversing blood flow within the carotid artery to reduce stroke risk.
Compare this less-invasive surgical procedure with standard carotid endarterectomy in centers that participate in the Society for Vascular Surgery Vascular Quality Initiative.
Provide “REAL-WORLD” Outcomes
Notes: the Society for Vascular Surgery (SVS) in collaboration with the US Food and Drug Administration (FDA) and the Centers for Medicare and Medicaid Services (CMS) established the TCAR surveillance project (TSP) in an attempt to obtain more real-world data about the safety and effectiveness of TCAR performed by centers participating in the Vascular Quality Initiative (VQI

## Slide 30: Outcomes
https://clinicaltrials.gov/ct2/show/NCT02850588?term=TCAR+%2C+Surveillance&rank=1

## Slide 32: TCAR Indications and Contraindications : Focus on Safe Access

## Slide 33: TSP CEA CAS Capture
Year | CEA | TCAR | TFCAS
September 2016 | 5207 | 85 | 947
2017 | 17706 | 1259 | 3,154
December 2018 | 17670 | 3075 | 2,964

## Slide 34: VQI TSP

## Slide 35
Notes: You can say that Patric will be talking about this later

## Slide 36
In-Hospital Outcomes of TransCarotid Artery Revascularization and Carotid Endarterectomy in the Society of Vascular Surgery Vascular Quality Initiative.
Schermerhorn ML, Liang P, Dakour Aridi H, Kashyap VS, Wang GJ, Nolan BW, Cronenwett JL, Eldrup-Jorgensen J Malas MB
VESS 2018
Notes: You can say that Hanaa will be talking about this later

## Slide 37: Strengths of the TSP
VQI practitioners as well as patients enrolled in the TSP represent the real-world alternative for the ROADSTER trial which has stricter inclusion/exclusion criteria.
Data from different specialties are pooled together and analyzed which allows a real-world and uniform comparison between the two procedures and avoids the confounding bias of operator specialty.

## Slide 38
Thank you